## ADA-Checklist
OVERSIGHT & QUALITY ASSURANCE PROGRAM – ACCESSIBILITY STANDARDS
VOLUNTARY COMPLIANCE AGREEMENT: (CASE#02-20-0030-4/#02-20-0016D),
2017-VCA-CA & PRHFA AFFORDABLE HOUSING PROGRAMS
PUERTO RICO HOUSING FINANCE AUTHORITY
APPENDIX A- ADA ACCESSIBILITY VERIFICATION CHECKLIST
SEPTEMBER 22ND , 2021
| General Info |  | Project Info |  |  | Inspection Info
| Project: |  | Type of Units: |  |  | Inspector Name:
| Contractor: |  | Numbers of Units: |  |  | Inspection Date:
| Inspector Name: |  | Project Start Date: |  |  | Inspection Time:
Appendix A - ACCESSIBILITY CHECKLIST - (Americans with Disabilities Act (ADA)
Priority 1- Accessible Approach and Entrance (Parking)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Parking Space |  | •If parking is provided for the public, adequate number of accessible spaces must be provided. ADA 208.2
Car Parking Space |  | •Accessible space is at least 8ft wide.(ADA 502.2)
•Aisle at least 5ft wide.(ADA 502.3)
Accessible spaces identified with a sign that includes the international symbol of accessibility. At least 60inches above the ground. (ADA 502.6)
Van Parking Space |  | •Accessible space is at least 11ft wide.(ADA 502.2) (When the minimum parking is 11', a minimum of 5' of Aisle is allowed.)
•Aisle at least 8ft wide.(ADA 502.3) (When the minimum Aisle is 8’, a minimum of 8’ parking is allowed.)
•At least 98 inches of vertical clearance provided. (ADA 502.5)
Accessible spaces identified with a sign that includes the international symbol of accessibility. At least 60inches above the ground. (ADA 502.6)
Accessible Aisle |  | •Access aisle slope no steeper than 1:48 in all direction (ADA 502.4)
•Access aisle adjoin an accessible route (ADA 502.3)
• Accessible spaces identified with a sign that includes the international symbol of accessibility. At least 60inches above the ground. (ADA 502.6)
Priority 1-Accessible Approach and Entrance (Exterior Accessible Route)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Accessible Route |  | •Route with at least 36" of width. (ADA 403.5.1)
•Route stable, firm and slip resistant. (ADA 302.1)
Narrow |  | •The accessible route can narrow to 32 inches min. for a max. of 24 inches. These narrow portions of the route must be at least 48 inches from each other. (ADA 403.5.1)
Passing Space |  | •The route is greater than 200 feet in length and less than 60 inches wide, passing space at least 60 x 60 inches (ADA 405.3)
Priority 1-Accessible Approach and Entrance (Exterior Accessible Route)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Openings |  | •Grates or openings on the route are the openings no larger than 1/2 inch to dominant direction of travel. (ADA 302.3)
Ramps |  | •Slope no steeper than 1:20 (ADA 403.3)
•If the running slope is steeper than 1:20, treat as a ramp and add features such as edge protection and handrails. (ADA 403.3)
Priority 1-Accessible Approach and Entrance (Curb Ramp)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Slope |  | •Slope no steeper than 1:12 (ADA 406.1, 405.2)
•Cross slope of curb ramp no steeper than 1:48. Excluding flares. (ADA 406.1, 405.3)
•Slopes of the flares no greater than 1:12. (ADA 406.4)
Ramp |  | •Minimum width is 36" (Excluding Flare) (ADA 406.1, 405.5)
Level landing at the top of the curb ramp is at least 36 inches long (ADA 406.4)
Priority 1-Accessible Approach and Entrance (Ramps)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Ramps |  | •Route stable, firm and slip resistant. (ADA 405.4)
•Minimum width 36" for ramp. (ADA 405.5)
•Slope no steeper than 1:12. (ADA 405.2)
Landing |  | •Landing where the ramp changes direction at least 60"x60" (ADA 405.7.4)
•Landing at least 60 inches long and at least as wide as a ramp. (ADA 405.7.2)
Handrails |  | •If the ramp has a rise higher than 6 inches, must have handrails at both sides (ADA 405.8)
•The handrail gripping surface no less than 34 inches and no greater than 38 inches above the ramp surface (ADA 505.4)
•If there are obstructions, is the bottom of the gripping surface obstructed no greater than 20%? (ADA 505.6)
•Gripping surface is circular, is it no less than 1 1/4 inches and no greater than 2 inches in diameter. (ADA 505.7.1)
Priority 1-Accessible Approach and Entrance (Ramps)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Handrails |  | •Extend at least 12 inches horizontally beyond the top and bottom of the ramp (ADA 505.10.1) If a 12 inch extension would be hazard (in circulation path) it is not required
Priority 1-Accessible Approach and Entrance (Entrance)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Main Entrance |  | •Main entrance accessible (ADA 216)
•If the main entrance is not accessible, alternative accessible entrance must be provided and used independently and during the same hours as the main entrance (ADA 216)
•Signs indicating the location of the nearest accessible entrance (ADA 216.6)
Doors |  | •Clear opening width of the accessible entrance door at least 32 inches, between the face of the door and the stop, when the door is open 90 degrees. (ADA 404.2.3)
•The pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus at least 60 inches clear depth (ADA 404.2.4)
•Operable parts of the door hardware no less than 34 inches and 48 inches above the floor or ground surface (ADA 404.2.7)
•Closer, take at least 5 seconds to close from an open position of 90 degrees to a position of 12 degrees from the latch (ADA 404.2.8)
•The pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus at least 60 inches clear depth (ADA 404.2.4)
•Two doors in a series the distance between the doors at least 48 inches plus the width of the doors when swinging into the space (ADA 404.2.6)
Thresholds |  | •If provided at the building entrance, are carpets or mats no higher than 1/2" inch think(ADA 302.2)
•Threshold no more than 1/4 inches high (ADA 404.2.5,303.2)
•No more than 1/2 inches with a sloped section beveled no steeper than 1:2 (ADA 404.2.5,303.2)
•The first 1/4 inches of the 1/2 or 3/4 inch threshold may be vertical; the rest must be beveled (ADA 404.2.5, 303.2)
Priority 2-Access to Goods & Services (Interior Accessible Route)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Public Space (Common Areas) |  | •The accessible entrance must provide direct access to the main floor, lobby and elevator(ADA 206.4)
•All public spaces on at least one accessible route (ADA 206.4)
Slope |  | •Slope no steeper than 1:12 (ADA 406.1, 405.2)
•Cross slope of curb ramp no steeper than 1:48. Excluding flares. (ADA 406.1, 405.3)
•Slopes of the flares no greater than 1:12. (ADA 406.4)
Ramp |  | •Minimum width is 36" (Excluding Flare) (ADA 406.1, 405.5)
•Minimum width is 36" (Excluding Flare) (ADA 406.1, 405.5)
Protruding Object |  | •All objects on circulation paths through public areas, e.g. fire extinguishers, drinking fountains, signs, etc., protrude no more than 4 inches into the path. (ADA 307.2)
•If an object protrudes more than 4 inches, is the bottom leading edge at max 27 inches or lower above the floor. (ADA 307.2)
•The bottom leading edge at 80 inches or higher above the floor. (ADA 307.4)
Priority 2-Access to Goods & Services (Ramps)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Ramps |  | •Route stable, firm and slip resistant. (ADA 405.4)
•Minimum width 36" for ramp. (ADA 405.5)
•Slope no steeper than 1:12. (ADA 405.2)
Landing |  | •Landing where the ramp changes direction at least 60"x60" (ADA 405.7.4)
•Landing at least 60 inches long and at least as wide as a ramp. (ADA 405.7.2)
Priority 2-Access to Goods & Services (Ramps)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Handrails |  | •If the ramp has a rise higher than 6 inches, must have handrails at both sides (ADA 405.8)
•The handrail gripping surface no less than 34 inches and no greater than 38 inches above the ramp surface (ADA 505.4)
•If there are obstructions, is the bottom of the gripping surface obstructed no greater than 20% (ADA 505.6)
•Gripping surface is circular, is it no less than 1 1/4 inches and no greater than 2 inches in diameter. (ADA 505.7.1)
Priority 2-Access to Goods & Services (Ramps)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Handrails |  | •Extend at least 12 inches horizontally beyond the top and bottom of the ramp (ADA 505.10.1) If a 12 inch extension would be hazard (in circulation path) it is not required
Priority 2-Access to Goods & Services (Elevator-Full Size & LULA)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
LULA Elevator |  | •Call buttons no higher than 54 inches above the floor. (ADA 402.2.1.1)
•Sliding door reopen automatically when obstructed by an object or person. (ADA 407.3.3). If constructed before 3/15/2012 and manually operated, the door is not required to reopen automatically.
•Door remain open for at least 20 seconds when activated (ADA 403.3.2).
•At least 54 inches deep by at least 36 inches wide with at least 15 sq. ft. or clear floor area (ADA 408.4.1).
|  | •The door opening width at least 32 inches(ADA407.4.1 ). | `
•No less than 15 inches and no greater 48 inches above the floor (ADA408.4.6,407.4.6.1 ).
•Controls up to 54 inches above the floor for a parallel approach (ADA408.4.6,407.4.6.1 ).
•Car controls centered on a side wall(ADA408.4.6 ).
•Car control buttons designated with raised characters (ADA407.7.1,703.2 )
•Audible signals which sound as the car passes or is about to stop at a floor (ADA 407.4.8 ).
Priority 2-Access to Goods & Services (Elevator-Full Size & LULA)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
LULA Elevator (Cont'd) |  | •Sign on both door jambs at every floor identifying the floor (ADA407.2.3, 408.2.3).
•Characters contrast with their background(ADA407.2.3, 408.2.3).
•Text characters raised(ADA407.2.3, 408.2.3).
•Braille(ADA407.2.3, 408.2.3).
•Tactile star on both jambs at the main entry level(ADA407.2.3, 408.2.3).
•Sign mounted between 48 inches to the baseline of the lowest character and 60 inches to the baseline of the highest character above the floor(ADA407.2.3, 408.2.3).
Priority 2-Access to Goods & Services (Elevator-Full Size & LULA)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Full Size Elevator |  | •Interior at least 54 inches deep by at least 36 inches wide with at least 16 sq. ft. of clear floor area (ADA407.4.1 ).
•The door opening width at least 32 inches (ADA407.4.1 ).
•No less than 15 inches and no greater 48 inches above the floor (ADA408.4.6,407.4.6.1 ).
•Controls up to 54 inches above the floor for a parallel approach (ADA408.4.6,407.4.6.1 ).
•Car control buttons designated with raised characters (ADA407.7.1,703.2 )
•Audible signals which sound as the car passes or is about to stop at a floor (ADA 407.4.8 ).
•Car control buttons designated with raised characters (ADA407.7.1,703.2 )
•Sign on both door jambs at every floor identifying the floor (ADA407.2.3, 408.2.3).
•Characters contrast with their background (ADA407.2.3, 408.2.3).
•Text characters raised (ADA407.2.3, 408.2.3).
•Braille (ADA407.2.3, 408.2.3).
•Tactile star on both jambs at the main entry level (ADA407.2.3, 408.2.3).
•Sign mounted between 48 inches to the baseline of the lowest character and 60 inches to the baseline of the highest character above the floor (ADA407.2.3, 408.2.3).
Priority 2-Access to Goods & Services (Platform Lifts)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Lift |  | • Used without assistance from others (ADA410.1).
• Clear floor space at least 30 inches wide by at least 48 inches long for a person using a wheelchair to approach and reach the controls to use the lift. (ADA410.1).
• Lift controls no less than 15 inches and no greater than 48 inches above the floor (ADA 410.5)
• Clear floor space at least 30 inches wide by at least 48 inches long inside the lift (ADA 410.3)
• End door clear opening width at least 32 inches lift (ADA 410.6)
• Side door clear opening width at least 42 inches (ADA 410.6)
Priority 2-Access to Goods & Services (Signs)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Room Numbers, Rooms Names & Exit Signs |  | • Text characters contrast with their backgrounds (ADA 703.5)
• Text characters raises(ADA 703.5)
• Brailles (ADA 703.3)
• Sign mounted: On the wall on the latch side of the door door. (ADA 703.4.2)
Interiors Spaces |  | • Text characters contrast with their backgrounds(ADA 703.5)
• Sign mounted so that characters are at least 40 inches above the floor (ADA 703.5.6)
Priority 2-Access to Goods & Services (Interior Doors)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Doors |  | •Clear opening width of the accessible entrance door at least 32 inches, between the face of the door and the stop, when the door is open 90 degrees. (ADA 404.2.3)
•The pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus at least 60 inches clear depth (ADA 404.2.4)
•Door equipped with hardware that is operable with one hand and does not require tight grasping, pinching or twisting of the wrist. (ADA 404.2.4)
•The operable parts of the hardware no less than 34 inches and no greater than 48 inches above the floor (ADA 404.2.7)
•The door be opened easily (5 pounds maximum force) (ADA 404.2.7)
•If the door has a closer, does it take at least 5 seconds to close from an open position of 90 degrees to a position of 12 degrees from the latch. (ADA 404.2.7)
Thresholds |  | •If provided at the building entrance, are carpets or mats no higher than 1/2" inch think (ADA 302.2)
•Threshold no more than 1/4 inches high (ADA 404.2.5,303.2)
•No more than 1/2 inches with a sloped section beveled no steeper than 1:2 (ADA 404.2.5,303.2)
•The first 1/4 inches of the 1/2 or 3/4 inch threshold may be vertical; the rest must be beveled (ADA 404.2.5, 303.2)
Priority 2-Access to Goods & Services (Rooms & Spaces)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Room |  | •Aisles and pathways to goods and services, and to one of each type of sales and service counters, at least 36 inches wide (ADA 403.5.1)
•Floor surfaces stable, firm and slip resistant (ADA 302.1)
•If there is carpet: Is it no higher than 1/2 inch (ADA 302.2)
Priority 2-Access to Goods & Services (Controls)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Controls |  | •Clear floor space at least 30 inches wide by at least 48 inches long for a forward or parallel approach (ADA 305.3)
•Operable parts no higher than 48 inches above the floor. (ADA 309.3, 308)
•Control be operated with one hand and without tight grasping, pinching, or twisting of the wrist (ADA 309.4)
Priority 3-Toilet Rooms
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Toilet Room |  | •At least one toilet room accessible? (Either one for each sex, or one unisex (ADA 604.1)
•Signs at inaccessible toilet rooms that give directions to accessible toilet rooms (ADA 216.8)
•Sign at the accessible toilet room with the International Symbol of Accessibility (ADA 216.8)
Priority 3-Toilet Rooms (Sign)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Routes |  | •A route to the accessible toilet room(s) that does not include the use of stairs (ADA 216.8)
Signs |  | • Text characters contrast with their backgrounds (ADA 703.5)
• Text characters raises(ADA 703.5)
• Braille (ADA 703.3)
• Sign mounted: On the wall on the latch side of the door door. (ADA 703.4.2)
• Sign mounted: Clear floor space beyond the arc of the door swing between the closed position and 45-degree open position, at least 18 x 18 inches centered on the tactile characters (ADA 703.4.2)
Priority 3-Toilet Rooms (Sign)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Signs |  | • Sign mounted: Baseline of the lowest character is at least 48 inches above the floor and the baseline of the highest character is no more than 60 inches above the floor (ADA 703.4.1) NOTE: If constructed before 3/15/2012 and mounted no higher than 60 inches to the centerline of the sign, relocation is not required.
Priority 3-Toilet Rooms (Entrance)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Doors |  | •Clear opening width of the accessible entrance door at least 32 inches, between the face of the door and the stop, when the door is open 90 degrees. (ADA 404.2.3)
•The pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus at least 60 inches clear depth (ADA 404.2.4)
•Door equipped with hardware that is operable with one hand and does not require tight grasping, pinching or twisting of the wrist. (ADA 404.2.4)
•The operable parts of the hardware no less than 34 inches and no greater than 48 inches above the floor (ADA 404.2.7)
•The door be opened easily (5 pounds maximum force) (ADA 404.2.7)
•If the door has a closer, does it take at least 5 seconds to close from an open position of 90 degrees to a position of 12 degrees from the latch. (ADA 404.2.7)
•Privacy wall and the door swings out, is there at least 24 inches of maneuvering clearance beyond the door latch side and 42 inches to the privacy wall (ADA 404.2.4)
Thresholds |  | •If provided at the building entrance, are carpets or mats no higher than 1/2" inch think (ADA 302.2)
•Threshold no more than 1/4 inches high (ADA 404.2.5,303.2)
Thresholds (Cont'd) |  | •No more than 1/2 inches with a sloped section beveled no steeper than 1:2 (ADA 404.2.5,303.2)
•The first 1/4 inches of the 1/2 or 3/4 inch threshold may be vertical; the rest must be beveled (ADA 404.2.5, 303.2)
Priority 3-Toilet Rooms (Inside)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Toilet |  | •A clear path to at least one of each type of fixture, e.g. lavatory, hand dryer, etc., that is at least 36 inches wide (ADA 403.5.1)
•Clear floor space available for a person in a wheelchair to turn around, i.e. a circle at least 60 inches in diameter or a T-shaped space within a 60-inch square. (ADA 603.2.1)
•Clear floor space at least 30 x 48 inches beyond the swing of the door (ADA 603.2.3)
• Mirror is over a lavatory or countertop, is the bottom edge of the reflecting surface no higher than 40 inches above the floor (ADA 603.3)
• Mirror is not over a lavatory or countertop, is the bottom edge of the reflecting surface no higher than 35 inches above the floor (ADA 603.3)
•If coat hook is provided, no less than 15 inches and no greater than 48 inches above the floor. (ADA 603.4)
Priority 3-Toilet Rooms (Lavatories)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Lavatories |  | •Lavatory have a clear floor space for a forward approach at least 30 inches wide and 48 inches long. (ADA 606.2)
• No less than 17 inches and no greater than 25 inches of the clear floor space extend under the lavatory so that a person using a wheelchair can get close enough to reach the faucet. (ADA 306.2)
• Front of the lavatory or counter surface, whichever is higher, no more than 34 inches above the floor. (ADA 606.3)
• At least 27 inches clearance from the floor to the bottom of the lavatory that extends at least 8 inches under the lavatory for knee clearance (ADA 606.3)
• Toe clearance at least 9 inches high (ADA 306.3.3) Note: Space extending greater than 6 inches beyond the available toe clearance at 9 inches above the floor is not considered toe clearance.
• Pipes below the lavatory insulated or otherwise configured to protect against contact (ADA 606.5)
•Faucet be operated without tight grasping, pinching, or twisting of the wrist (ADA 606.4)
•Force required to activate the faucet no greater than 5 pounds. (ADA 606.4)
Priority 3-Toilet Rooms (Dispensers & Hand Dryers)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Dispensers |  | •Lavatories or counters no less than 20 inches and no greater than 25 inches deep: no higher than 44 inches above the floor. (ADA 308.2.2)
•Above lavatories less than 20 inches deep: no higher than 48 inches above the floor (ADA 308.2.2)
•Not over an obstruction: no higher than 48 inches above the floor (ADA 308.2.2)
•Above lavatories less than 20 inches deep: no higher than 48 inches above the floor. (ADA 308.2.2)
Hand Dryers |  | •Lavatories or counters no less than 20 inches and no greater than 25 inches deep: no higher than 44 inches above the floor. (ADA 308.2.2)
•Above lavatories less than 20 inches deep: no higher than 48 inches above the floor (ADA 308.2.2)
•Not over an obstruction: no higher than 48 inches above the floor (ADA 308.2.2)
•Operable parts of the hand dryer or towel dispenser be operated without tight grasping, pinching or twisting of the wrist (ADA 309.4)
Priority 3-Toilet Rooms (Stalls)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Water Line |  | •The centerline of the water closet no less than 16 inches and no greater than 18 inches from the side wall or partition. (ADA 309.4)
• Clearance provided around the water closet measuring at least 60 inches from the side wall and at least 56 inches from the rear wall (ADA 604.3.1)
• The height of the water closet no less than 17 inches and no greater than 19 inches above the floor measured to the top of the seat. (ADA 604.4)
Grab Bars (Side Walls) |  | •Grab bar at least 42 inches long on the side wall. (ADA 604.5.1)
•Grab bar located no more than 12 inches from the rear wall (ADA 604.5.1)
•Grab bar extend at least 54 inches from the rear wall (ADA 604.5.1)
•Mounted no less than 33 inches and no greater than 36 inches above the floor to the top of the gripping surface (ADA 609.4)
•At least 12 inches clearance between the grab bar and projecting objects above (ADA 609.3)
•At least 1/2 inches clearance between the grab bar and projecting objects below (ADA 609.3)
•Grab bar at least 36 inches long on the rear wall (ADA 604.5.2)
Priority 3-Toilet Rooms (Stalls)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Grab Bars (Side Walls) |  | •Grab bar extend at least 12 inches from the centerline of the water closet on one side (ADA 604.5.2)
•Grab bar extend at least 24 inches on the other (open) side. (ADA 604.5.2)
•Mounted no less than 33 inches and no greater than 36 inches above the floor to the top of the gripping surface (ADA 609.4)
Grab Bars (Rear Walls) |  | •At least 12 inches clearance between the grab bar and projecting objects above (ADA 609.3)
•At least 1/2 inches clearance between the grab bar and projecting objects below (ADA 609.3)
Flush Control |  | •Flush control is hand operated, is the operable part located no higher than 48 inches (ADA 604.8)
•The flush control is hand operated, can be operated with one hand and without tight grasping, pinching, or twisting of the wrist (ADA 605.4)
•Force required to activate the flush control no greater than 5 pounds (ADA 605.4)
•Flush control on the open side of the water closet (ADA 605.4)
Toilet Paper Dispenser |  | • Toilet paper dispenser located no less than 7 inches and no greater than 9 inches from the front of the water closet to the centerline of the dispenser (ADA 604.7)
• Dispenser allow continuous paper flow. (ADA 604.7)
•Outlet of the dispenser: Located no less than 15 inches and no greater than 48 inches above the floor (ADA 604.7)
Door |  | •Door opening width at least 32 inches clear, between the face of the door and the stop, when the door is open 90 degrees (ADA 604.8.1.2)
•Front approach to the pull side of the door, is there at least 18 inches of maneuvering clearance beyond the latch side plus 60 inches clear depth (ADA 604.8.1.2)
• Door self-closing (ADA 604.8.1.2)
• Door pulls on both sides of the door that are operable with one hand and do not require tight grasping pinching or twisting of the wrist. (ADA 604.8.1.2)
• Lock operable with one hand and without tight grasping, pinching or twisting of the wrist (ADA309.4)
•Operable parts of the door hardware mounted no less than 34 inches and no greater than 48 inches above the floor (ADA 404.2.7)
Compartment |  | •Compartment at least 60 inches wide (ADA 604.8.1.1)
•If the water closet is wall hung, is the compartment at least 56 inches deep. (ADA 604.8.1.1)
Priority 3-Toilet Rooms (Stalls)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Compartment |  | •The water closet is floor mounted, is the compartment at least 59 inches deep. (ADA 604.8.1.1)
•The minimum required compartment area provided beyond the swing of the door (60 inches x 56 inches if water closet is wall hung or 59 inches if water closet is floor mounted (ADA 604.8.1.1)
Priority 4-Additional Access (Drinking Fountain)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Drinking Fountains |  | • At least one drinking fountain have a clear floor space at least 30 inches wide x at least 48 inches long centered in front of it for a forward approach (ADA 602.2)
•Forward approach, do no less than 17 inches and no greater than 25 inches of the clear floor space extend under the drinking fountain (ADA 306.2.2, 306.2.3)
•The drinking fountain is no deeper than 20 inches, are the operable parts no higher than 48 inches above the floor(ADA 308.2.2)
•The drinking fountain no less than 20 inches and no greater than 25 inches deep, are the operable parts no higher than 44 inches above the floor(ADA 308.2.2)
•Control operated with one hand and without tight grasping, pinching or twisting of the wrist (ADA 308.2.2)
•Force required to activate the control no more than 5 pounds.(ADA 309.4)
•The spout outlet no higher than 36 inches above the floor. (ADA 602.4)
•The spout at least 15 inches from the rear of the drinking fountain (ADA 602.4)
•The spout no more than 5 inches from the front of the drinking fountain(ADA 602.5)
•The spout outlet no lower than 38 inches and no higher than 43 inches above the floor(ADA 602.7)
• Leading (bottom) edge of the fountain is higher than 27 inches above the floor, does the front of the fountain protrude no more than 4 inches into the circulation path (ADA 602.7)
Priority 4-Additional Access (Fire Alarm Systems)
Element | Location | Standards- Requirement | Measurements/Comments | Compliance |  | Finding
|  |  |  | Yes | No
Signal |  | •Flashing lights and audible signals (ADA 702.1)
General Comments/Additional Observation:
Photo Page
Photo #: Requirements-Standards |  |  | Photo #: Requirements-Standards
Photo #: Requirements-Standards |  |  | Photo #: Requirements-Standards
Photo #: Requirements-Standards |  |  | Photo #: Requirements-Standards